Pros and Cons of Various Heating Fuels and Methods

There are no magic bullets to solve the home energy use dilemma, but there are a lot of options.  You must analyze your families needs and willingness to adjust to the different heating and energy system requirements for regular use.

(1= describes this fuel: 2 = might describes this fuel: 3 = does not describe this fuel)

|  | Fuel Oil | Bottled Gas | Natural Gas | Electricity (resistive) | Wood Stove Stick | Wood Stove Pellet | Outdoor wood stove | Passive Solar Heating | Active Solar Heating | Solar Photo-voltaic | Wind Power | Heat Pump | Geo-thermal | Hydro-electric |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inexpensive fuel | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Inexpensive installation | 2 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 |
| Many installers & qualified service technicians available | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 |
| Low fire potential in the home | 1 | 2 | 2 | 1 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Low Carbon Monoxide potential in the home | 2 | 3 | 3 | 1 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Fuel delivery available & easily secured in Maine | 1 | 1 | 3 | 1 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA |
| Fuel or power easily stored on premises | 1 | 1 | NA | NA | 3 | 3 | 3 | 3 | 3 | 3 | 3 | NA | NA | 3 |
| Fuel storage on premises requires large area | 3 | 3 | NA | NA | 1 | 1 | 1 | 1 | 2 | 2 | 2 | NA | NA | 2 |
| Useful with other household applications and appliances | 3 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 3 | 3 | 1 |
| Chimney for exhaust of gases required | 2 | 2 | 2 | 3 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| Direct vent system for exhaust of gases required | 2 | 2 | 2 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| Duct or hot water system needed to distribute heat | 1 | 2 | 2 | 3 | 2 | 3 | 1 | 3 | 2 | 1 | 1 | 1 | 1 | 1 |
| Each room individually controlled | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 2 | 1 | 1 | 1 | 2 | 1 |
| Renewable source of energy | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 3 | 1 | 1 |
| No environmental degradation as a result of use | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 2 | 1 | 2 |
| Can be used as a supplemental source of heat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 |
| Relatively clean fuel when used in the home | 1 | 1 | 1 | 1 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Not dependent on specific site or location | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 3 | 1 | 2 | 3 |
| Needs some type of power battery storage | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 3 | 3 | 1 |
| Must be filled daily | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| Manual carrying and loading of fuel to the heater | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| May deplete available wood supply | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |