Script for

Saving Home Energy

Comparing Different Home Heating Fuels and Alternative Energy Systems

Part 3

- Before we consider installing a new alternative fuel or energy system in our homes it is important to be sure our homes are insulated and caulked to prevent heat loss or air infiltration.  We need to have made changes on a personal basis to be comfortable during the winter months as outlined in part two of this series. Whatever heating fuel or system we are using it is important to install smoke detectors and carbon monoxide detectors for the safety of our families.

- We should consider supplementing our current heating system only after we have had it cleaned, served, and evaluated for efficiency.  Options for short term supplementation include the use of small electric space heaters in the room you are occupying.  When the cost of oil is high the use of small electric space heaters is economical if used sparingly for a few hours in one room.  Many people in Maine are connecting their old wood stoves or buying new wood stoves to supplement the heat in their homes.  Another option is installing small thermal passive or active solar assist devises to capture the suns heat to warm part of the home.

- You should consider the aspects of your current heating system and the needs of you and your family.  Do you need an easy to use system that requires minimal mechanical knowledge to operate?  Are you willing to pay a high initial cost with long term savings?  Is reducing your carbon footprint important?  Wood does bring a certain amount of fire risk and work to the household.

- There are a growing number of alternative energy dealers, distributors, installers and technicians but depending on where you live in Maine you may or may not be able to have service people who can quickly come and check out your system when things go wrong.   Some alternative energy systems may need someone in the home with mechanical aptitude and interest to make these systems work for your family.  No matter how good the wood stove is someone has to lug in the wood or pellets and someone has to stoke the stove multiple times a day.   Also, burning wood has been shown to decrease indoor air quality. UMaine Extension has a factsheet with a more detailed comparison of energy sources.

- Not only do you need to consider the fuel but how the heat will be distributed throughout your house.  Many of these fuels can be linked to either a hot air, hot water, or radiant heat system.  Are you going to change just the fuel source or the heat distribution system or both?  Changing the heat distribution system will be a lot more costly.

- Let’s start with the most common source of heat in homes in Maine – fossil fuels or more specifically oil.  We have a huge infrastructure to support the fuel oil system.  Generally each town or city will have several companies that will sell and deliver oil to you and come out to repair and maintain your system.  Chimney emissions are very low and the newer heating appliances are very efficient. The homeowner only needs to set the thermostat and maybe check the air filter occasionally to have worry free heat for their home.

- On the other hand oil is not a renewable resource and it adds carbon dioxide to the atmosphere.  We have seen huge swings in costs from $2.50 per gallon to $5.00 per gallon and back again.  All oil is imported into the state of Maine and the country as a whole is dependent on foreign sources of oil.

- Renewable sources of heat include logs that may or may not be harvested from our own land, wood pellets that are produced right here in Maine, other formed wood products that may come from away, corn that generally is from the Midwest and hay pellets that are the newest product under development.

- Renewable wood fuels are easily available throughout Maine and if harvested sustainably will regrow and provide a source of heat for generations to come.  During power outages most woodstoves can provide heat to homes.  One note that most pellet stoves need power to operate as do furnaces and boilers.

- Older uncertified indoor or outdoor wood stove or furnaces can cause significant air pollution, reduce air quality and can require twice the amount of wood.    Set back from property line requirements set by Maine Department of Environmental Protection for outdoor wood furnaces start at 270 feet.  There are more efficient models coming on the market that will have a shorter set back.  Generally we need to transport our wood fuel to our wood stove either in logs or the 40 pound pellet bags.  This may be an issue for some households.  Technologies are being developed to make wood pellet burning more convenient.   There is a growing issue of how to dispose of the plastic bags that the pellets come in.  Some folks recycle the bags to use for household trash.

- The wood we burn is from Maine so we are not dependent on outside sources for this fuel. Newer wood burning stove and furnace models are being manufactured that decrease air pollution, increase efficiency and will require less wood.   Outdoor wood boilers are less risky in terms of fire danger, but do use more wood since they are less efficient.

- Some safety issues to consider as many homes turn to wood heat as either the primary or secondary heat source for their homes include having an adequate chimney that can handle a wood stove.  Check with your insurance company since they may require a separate flue or chimney for wood stoves. Be sure your wood stove is installed correctly. You can contact your fire department to come and inspect the installation.  Since there is a lot more risk of house fires with woodstoves we need to be sure to have smoke alarms and check them regularly.  Learn how to burn wood in your stove to maximize the amount of heat from your wood and lessen the amount of creosote formed in the chimney.

- Other renewable fuels include corn that is burned in a special corn burning stove and hay pellets that is currently being researched here in Maine.  Corn has a high heat value but it is predominantly an imported product from the Midwest.  Corn grown in Maine is usually for forage and not grain. The grain can be purchased in either 50 to 80 pound bags or in bulk.

- In Maine much of the electrical power we use from public utilities comes from renewable sources including biomass, wind, and hydro power. The rest of the power is generated from non-renewable sources including natural gas, nuclear, petroleum and coal.  Homeowners looking for a “greener” source of electricity without installing alternative systems have the option to purchase electricity that is produced by wind or hydro power.  It costs a little more but will reduce our reliance on imported fuels, reduce carbon monoxide emissions and reduce your carbon footprint. The Efficiency Maine web site has information on buying “green” power.

- Most homes in Maine are connected to the public utility grid that furnishes electricity to run our lights, refrigerators, microwaves, electric stoves, etc. Electricity is a very efficient form of energy to generate heat but compared to other sources of thermal energy, electricity is more expensive to generate heat, especially at sixteen cents per kilowatt hour from the public utility grid.   It is estimated that electricity generated from photovoltaic systems is thirty cents per kilowatt hour and small wind turbines is thirty to fifty cents per kilowatt hour when we consider the initial cost of the system, annual maintenance and replacement cost over time, not including tax incentives.

- Electricity is very convenient, reliable source of power that can be used a number of ways to heat a home including wall heaters, baseboard heaters, hot air furnace, radiant ceilings or space heating.  Again, when coming off the main power grid it can be quite expensive so its use should be limited to small space heating needs.  Solar photovoltaic systems could convert the electricity they capture from the sun into heat to heat the home and power to run the appliances, lights, etc., but this would add enormously to the size and cost of the system. A better idea is to use another source to heat the home and use the photovoltaic or wind system to power our lights and electric appliances.

- Heat pumps are very popular in other parts of the country where they are used to efficiently heat and cool well insulated homes that have a central heating and cooling system.  In Maine we used to only be able to use only ground source heat pumps (where a system of pipes are buried in the ground) to heat and cool our homes, but manufacturers in Maine have developed a two stage air source heat pump that will work in our cold climate. Heat pumps rely on electricity to work.   When you lose your power you lose your heat source just as you would lose heat with a furnace.  There aren’t very many companies that install and maintain heat pump systems.  Cost to convert to heat pump can range from $35,000 to $50,000 and the annual cost to run the compressor is about $1,500 to $1,600. Should only consider for highly insulated homes that are air conditioned as well as heated.

- Heat Pumps work by extracting or releasing heat from or to the ground or air.  Since our winter temperatures get very low it is more difficult for these systems to extract heat from already cold air.  The science behind the heat pump involves the compression of a gas to a liquid that takes in heat and the expansion of liquid to a gas that releases heat.  Just the same way our refrigerators can keep our food cold in a warm home.

- We can collect two types of energy from the sun thermal and electrical.  We can directly heat our homes from the suns energy through either a passive system or an active solar thermal system.  Another way we can collect energy from the sun is to convert the suns rays into electricity with photovoltaic cells.  The number of certified thermal and electrical solar installers in the state of Maine is growing every year.

- Passive solar thermal systems rely on south facing transparent or translucent glazing that the sun shines through to heat a space and thermal mass.  Also, these systems rely on natural convection to carry the heated air throughout the house.   To maximize available heat it is important that the home is well insulated to conserve all heat it receives during the day in the winter. Insulated window treatments will also help conserve heat during evenings and cloudy days. Roofs are oriented to allow sun to shine in during the winter and shaded the interior somewhat during the summer.

- New homes can be constructed with passive solar thermal principles at little extra cost as long as the site where the house is built has an unobstructed southern exposure.  It may necessitate the removal of any tall trees that might block the sun.  There may be wide variations in temperature in the home and usually some supplemental source of heat is needed during long stretches of cloudy weather.  Sometimes the interior space has a large thermal mass to collect the heat and radiate it to the living space when the sun goes down and reducing the wide swings in temperature. Swimming pools can be covered with a transparent plastic cover that will help heat the water.

- Older homes can utilize smaller passive solar thermal collectors such as this concept that can be made to utilize a south facing window. This window unit will collect warm air during sunny days and vent it into the room.  Another larger option is to make a Trombe or solar wall. There are many different passive solar designs available for the home do-it-yourselfer at www.builditsolar.com.  There is also a Maine Solar Energy Association that can assist do it yourselfers.

- While the passive solar thermal system relied on natural air convection to distribute the heat an active solar thermal heating system relies on pumps to move heat to and from a storage system. Active solar thermal can be used for heating the whole home or just providing domestic hot water heat.  A good starting place for an active solar thermal heating system is to put in a domestic hot water system.  It can be small – four and a half foot by eight foot solar collector with storage tank to provide supplemental heat to your current hot water heating system.  Again the www.builditsolar.com site has a number of collectors that can be built or you can purchase a contained system from a commercial company.

- Active solar thermal systems usually involve a collector and pump system that pumps a liquid through a collector and down to a storage tank. They can be used for space heating and/or domestic hot water. Generally the temperature fluctuation in the home has a smaller range than with a passive thermal solar system.  Usually homes with an active solar thermal system utilize an in-floor radiant heat system.  When the home needs heat the heat in the storage tank is tapped. The pumps are run by electricity so in a power outage the system can’t function adequately.  The amount of storage for heat will determine how long the system can go in cold, cloudy weather.

- Solar electric systems or photovoltaic systems convert sunlight directly to electricity.  Solar cells—the basic building blocks of a PV system—consist of semiconductor materials. When sunlight is absorbed by these materials, the solar energy knocks electrons loose from their atoms. This phenomenon is called the "photoelectric effect." These free electrons then travel into a circuit built into the solar cell to form electrical current. Solar panels are becoming very durable and the cost is said to be on the verge of a price drop in terms of cost per Kilowatt hour. Once installed there is little maintenance needed for the panels.

- The electricity that comes from the solar panels is “direct current” or DC.  Our appliances and lights are designed to run on “alternating current” or AC so an inverter needs to be included in your system to make the power you generate usable.  Since photovoltaic systems are more expensive to install than solar thermal systems you should size your PV system according to the amount of electricity you plan to use. Many homes will use both a solar thermal and a solar electric system for their homes energy needs. First you need to be sure your home is energy efficient and appliances (especially your refrigerator) are ENERGY STAR models. Measure your electrical consumption after you have made your efficiency upgrades.  This will give you an estimate of the size system you will need to install.

- Next you need to consider how you will store electricity to use at night.  If you are not connected to the public power grid then a battery system needs to be installed to store power for nighttime use. Battery systems are expensive and do require regular maintenance and monitoring.  If you are connected to the grid then since Maine has “net metering” you can bank your extra electricity to the grid during the day when your array is generating power for energy credits and then you can use power from the grid at night when your PV system isn’t generating power. While the power company won’t pay you for extra power that you don’t use, you won’t have to install battery backup system. Also, when your PV system doesn’t produce enough electricity to cover your electrical usage you will get a bill from your utility.  You will need a North American Board of Certified Energy Practitioners certified electrician to connect your solar electric system to the public electrical power grid.  Also only commercially available systems not home-made systems will qualify for the 30% tax credit.

- Recently we have been hearing about homeowners installing small wind systems to provide electric power for their homes.  But how do wind systems work?  Moving air turns propeller like blades that turn an electric generator.  While the power generated is alternating current or AC it is “wild” and needs to be converted to 60 watt AC power.  This unit is considered the turbine and is mounted on a tower.  There is a cut out that only lets the turbine turn in wind speeds that it is rated.  It will cut out at low wind speed and high wind speeds.

- You need to consider how much power you need per year. If your current electric bill is more than $150 per month then you might consider wind power. An average home usually has a 5 to 15 kilowatt turbine installed.  These can cost from $15,000 to $50,000 to install.  To reduce your electrical needs and size of the turbine plan to install super insulated refrigerators and other energy star appliances.  Use other sources of energy to heat your home and hot water.  Since the wind doesn’t blow all the time or may be too fast for your turbine you will need to plan on some type of back up either being tied to the commercial power grid or use battery back up system. We just reviewed these options in the photovoltaic discussion.

- You need to find out how much the wind blows on your site.  The best option is to mount an anemometer at the height you think your turbine will be and take measurements for a year.  This will give you a good idea of the wind you can expect and size of turbine you will need.  You can go to www.windpoweringamerica.gov/ to their wind resources map and check out the potential wind for your area. It is very costly to buy a turbine and put it up on a tower only to find it doesn’t produce the electricity you expect. You are looking for at least 9 mph wind speed.  The higher the tower the higher the wind speed.

- Other considerations to think about before you put up your tower.  Does your town or city zoning allow towers and small wind systems?  Also, you need to get a certified electrician involved if you are going to connect to the grid or participate in rebates. There are fewer installers and maintenance people who work with small wind power in Maine than solar energy systems so you will need to be willing to do some maintenance yourself.  Many small turbines are mounted on 100 foot tall towers and they do need regular maintenance.  Some towers are tilt down so the turbine can be serviced once or twice a year.

- Another type of power some homeowners might be considering is a mini-hydro power system.  You must have a site that has a reliable source of year round running water.  Since it usually means some sort of dam needs to be built the environmental regulations must be investigated fully as well as the cost vs. payback of the system. The homeowner must take on a lot of the responsibility of this type of system since there are few service people in the state that can help with small hydropower systems.

- Most homeowners must do a cost analysis to determine if they will save money by installing a different type of heating or alternative energy system in their home.  First figure out how much you are spending for heat or electricity and the quantity you are burning or using.  It might be gallons of number 2 fuel oil, cords of wood or kilowatt hours of electricity.  If you are considering changing your heating source then convert to million BTUs. UMaine Extension has a factsheet to help find this information. If you are considering producing electricity convert to kilowatt hours.  Next determine the cost of the system plus installation.   If you are taking out a loan you need to consider annual costs of the loan.   Include any annual maintenance costs and costs or value for your time to use the system.

- In this example we are comparing an oil furnace that is 65% efficient burning $2.50/gallon oil with a new pellet stove that is 80% efficient burning $230/ton pellets.  You would save about $700 per year or the new pellet stove cost could be recovered in about three and a half years.   You can add to this savings the 30% tax incentive for the cost of the stove and installation or $750 so the payback period would be two and a half years.

- In this example we compare that 65% efficient oil furnace with a new heat pump system.  A radiant heat system was installed to utilize the heat pump system more efficiently and to increase comfort. The cost of the heat pump and heat distribution system minus incentives is $30,000.  The heat pump actually makes the electricity two to three times more effective.  In this case it would take 35 years to payback the cost of the system.

- We have been talking about a number of costly changes that you can make to your home to make it more energy efficient, but how are you going to pay for it?  Funding from the government for low income assistance is small and tax incentives change yearly.  In 2009 there is some low income assistance to install more efficient furnaces or boilers.  You need to check with your local Community Action Program Agency or the Maine Housing to see if you qualify. You can either call 211 or go to www.211maine.org to locate your local CAP program. There are federal and state tax incentives and rebate programs available for energy upgrades.  Another option might be renting out a portion of you home.

- There are tax incentives for energy conservation and efficiency as well as incentives for installing alternative energy systems.  At the state level through Efficiency Maine there is a $2,000 solar photovoltaic incentive, $1,000 solar thermal incentive and when there are funds available a $2,000 incentive for small residential wind systems. You must apply for and reserve these funds before you purchase your system for the Maine incentive programs. A do-it-yourselfer can build your own hot air panel and still receive the State incentive.  The PV and solar thermal systems must be commercially available. At the federal level the tax incentives are 30% of the cost of the energy system with no cap.  Federal incentives are for third party tested systems that are rated by the Solar Rating & Certification Corporation (SRCC.)  Federal Renewable Energy System incentives are in effect until 2016. Don’t forget there is also the 30% of cost incentive for conservation and efficiency measures that are installed.  But it does not include the cost of installation.  Federal conservation tax credits are only for 2009 and 2010.

- More energy resources in general.

Developed for 2009 UMaine Cooperative Extension Energy Initiative Training by Donna Coffin and Kathy Hopkins, Extension Educators.

Reviewed by Joy Adamson, Efficiency Maine Program Manager, Maine Public Utilities Commission and Richard Fortier, Efficiency Maine Solar / Wind Program Manager, Maine Public Utilities Commission